IOT CAPSTONE PROJECT 9

IOT-BASED SMART WATER QUALITY MONITORING SYSTEM

# INTRODUCTION

Access to clean and safe water is essential for public health, agriculture, industrial processes, and environmental sustainability. Water quality can be affected by various factors such as contamination, chemical imbalance, pollution, and environmental changes. Traditional water quality testing methods often involve manual sampling and laboratory analysis, which may not provide continuous monitoring or immediate detection of unsafe conditions.

The Internet of Things (IoT) enables real-time environmental monitoring through connected sensors and cloud-based platforms. By continuously measuring critical water quality parameters such as pH, turbidity, temperature, and dissolved solids, IoT systems can provide timely insights into water conditions and support preventive actions when quality standards are not met.

This project focuses on developing an IoT-based Smart Water Quality Monitoring System that monitors water parameters, provides real-time alerts, and supports data-driven management of water resources.

# PROBLEM STATEMENT

Water quality can change rapidly due to environmental pollution, industrial activities, agricultural runoff, and natural factors. Delays in identifying contamination or unsafe conditions can pose significant risks to human health, agriculture, and ecosystems.

There is a need for an intelligent monitoring system capable of continuously collecting water quality data, detecting abnormal conditions, and providing real-time visibility into water safety and quality trends.

How can an IoT-based Smart Water Quality Monitoring System be developed to monitor water conditions, provide real-time alerts, and support effective water quality management?

# SCOPE OF WORK

## In Scope

- Water quality parameter monitoring.

- Real-time sensor data collection.

- Cloud-based data storage and visualization.

- Threshold-based alert generation.

- Historical water quality trend analysis.

- Dashboard development for monitoring and reporting.

- Water quality status visualization.

- Integration with Google tools for collaboration and reporting.

## Out of Scope

- Water purification systems.

- Municipal water distribution infrastructure.

- Industrial wastewater treatment systems.

- Government environmental monitoring networks.

- Large-scale commercial deployment.

# SUGGESTED TECHNOLOGIES

## Microcontrollers & Development Boards

- ESP32

- NodeMCU (ESP8266)

- Arduino Uno

## Sensors

- pH Sensor

- Turbidity Sensor

- TDS Sensor

- Temperature Sensor

## Communication Technologies

- Wi-Fi

- MQTT

## Cloud Platforms

- Firebase

- Node-RED

- ThingSpeak

## Programming Languages

- C/C++

- Python

## Dashboard & Visualization

- Grafana

- Streamlit

- Node-RED Dashboard

## Alert & Notification Services

- IFTTT

- Email Notifications

- SMS Alerts

## Simulation Tools

- Tinkercad Circuits

- Firebase Simulation Environment

## Google Workspace Integration

- Google Sheets

- Google Colab

- Google Drive

- Google Sites

- Google Meet

# EXPECTED OUTCOMES

- IoT-based water quality monitoring prototype.

- Real-time water parameter tracking system.

- Cloud-connected monitoring dashboard.

- Water quality alert and notification mechanism.

- Water trend analytics and visualization reports.

- Improved visibility into water safety conditions.

- Project documentation and presentation.

- Source code repository and supporting resources.

# LEARNING OUTCOMES

- Understanding of IoT applications in environmental monitoring.

- Experience with water quality sensor integration.

- Knowledge of cloud-based monitoring systems.

- Practical exposure to real-time data collection and visualization.

- Skills in developing environmental monitoring solutions.

- Understanding of how IoT can support water conservation, public health, and environmental sustainability.